{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["PRAKAB","Vyrobky","Cenik","ceny"],"not_rendered":{"charts":0,"images":4,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"PRAKAB","index":0,"n_rows":48,"n_cols":9,"rows_kept":48,"cut":false,"hidden":false,"merged":[[29,8,29,11],[47,0,47,15]]}
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,"platnost od 1.6.2012"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["JUDr. Pavel Lakatoš - \"3EL\", Pivovarnická 17/166, 18000 Praha 8, Tel: +420 284 828 910, e-mail: obchod@3el.cz\n\n"]

{"sheet":"Vyrobky","index":1,"n_rows":31,"n_cols":13,"rows_kept":31,"cut":false,"hidden":true,"merged":[]}
[null,0,null,0]
[null,0,null,null,null,"Rabat",null,null,null,null,null,null,"Rabat"]
[]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]
[null,null,null,null,null,0,null,null,null,null,null,null,0]

{"sheet":"Cenik","index":2,"n_rows":11,"n_cols":7,"rows_kept":11,"cut":false,"hidden":true,"merged":[]}
[null,0,0,"Rabat"]
[null,0,null,0,null,"Prodejní cena"]
[null,"Výrobek","Obsah Cu","Obsah Al","Bázová cena","bez DPH"]
[null,null,"Kg/km","Kg/km","Kč/km","Kč/km"]
["301","H05V-K 0,5 CR",5,null,1180,{"$f":"((E5*(1-$D$2))+(C5*$B$1+D5*$B$2))*(1-$C$1)","v":1180},8592285049116]
["301","H05V-K 0,75 CR",7,null,1410,1410,8592285049239]
["301","H05V-K 1 CR",10,null,1590,1590,8592285049352]
["301","H07V-K 1,5 CR",15,null,2110,2110,8592285052161]
["301","H07V-K 2,5 CR",25,null,3180,3180,8592285052888]
["301","H07V-K 4 CR",39,null,5230,5230,8592285053366]
["301","H07V-K 6 CR",59,0,7690,7690,8592285053601]

{"sheet":"ceny","index":3,"n_rows":953,"n_cols":7,"rows_kept":953,"cut":false,"hidden":true,"merged":[]}
["SOSK","VYROBEK","CU","AL","CENA","POM","CODE"]
["110","CU PLET. P Z 0,071 10",98,0,81210,0,8592285031845]
["110","CU PLET. P Z 0,071 16",156.80000000000001,0,114500,0,8592285031852]
["110","CU PLET. P Z 0,071 25",245,0,180480,0,8592285031876]
["110","CU PLET. P Z 0,071 35",343,0,256670,0,8592285031883]
["110","CU PLET. P Z 0,071 6",58.8,0,55830,0,8592285031906]
["110","CU PLET. P Z 0,10 10",98,0,59680,0,8592285031913]
["110","CU PLET. P Z 0,10 16",156.80000000000001,0,84050,0,8592285031920]
["110","CU PLET. P Z 0,10 25",245,0,124160,0,8592285031937]
["110","CU PLET. P Z 0,10 35",343,0,159060,0,8592285031944]
["110","CU PLET. P Z 0,10 50",490,0,244160,0,8592285031951]
["110","CU PLET. P Z 0,20 25",245,0,55750,0,8592285031999]
["110","CU PLET. P Z 0,20 35",343,0,87310,0,8592285032002]
["110","CU PLET. P Z 0,20 50",490,null,134030,0,8592285032019]
["110","CU PLET. P Z 0,20 70",686,0,179630,0,8592285032026]
["301","H05V-K 0,5 CR",5,null,1180,0,8592285049116]
["301","H05V-K 0,75 CR",7,null,1410,0,8592285049239]
["301","H05V-K 1 CR",10,null,1590,0,8592285049352]
["301","H07V-K 1,5 CR",15,null,2110,0,8592285052161]
["301","H07V-K 2,5 CR",25,null,3180,0,8592285052888]
["301","H07V-K 4 CR",39,null,5230,0,8592285053366]
["301","H07V-K 6 CR",59,0,7690,0,8592285053601]
["302","H07V-K 10 CR",98,null,14010,0,8592285052284]
["302","H07V-K 16 CR",157,null,20930,0,8592285052642]
["302","H07V-K 25 CR",245,null,30360,0,8592285053120]
["302","H07V-K 35 CR",343,null,43570,0,8592285053243]
["303","H07V-K 50 CR",490,null,62510,0,8592285053489]
["303","H07V-K 70 CR",686,null,92180,0,8592285053724]
["303","H07V-K 95 CR",931,null,122100,0,8592285053847]
["303","H07V-K 120 CR",1176,null,150850,0,8592285052406]
["303","H07V-K 150 BA",1470,null,191280,0,8592285052512]
["303","H07V-K 185 CR",1813,null,251110,0,8592285052765]
["303","H07V-K 240 BA",2352,null,340320,0,8592285052994]
["311","CMSM-h 2X0,5",10,0,4760,0,8592285027817]
["311","CMSM-h 2X0,75",15,0,5400,0,8592285027824]
["311","CMSM-h 2X1,0",20,0,5820,0,8592285027831]
["311","CMSM-h 2X1,5",29,0,7140,0,8592285027848]
["311","CMSM-h 2X2,5",49,0,9880,0,8592285027855]
["311","CMSM-h 3G0,5",15,0,5570,0,8592285028012]
["311","CMSM-h 3G0,75",22,0,7490,0,8592285028029]
["311","CMSM-h 3G1,0",29,0,7230,0,8592285028036]
["311","CMSM-h 3G1,5",44,0,9790,0,8592285028043]
["311","CMSM-h 3G2,5",74,0,13820,0,8592285028050]
["311","CMSM-h 4G0,5",20,0,7160,0,8592285028265]
["311","CMSM-h 4G0,75",29,0,8230,0,8592285028272]
["311","CMSM-h 4G1,0",39,0,9460,0,8592285028289]
["311","CMSM-h 4G1,5",59,0,12800,0,8592285028296]
["311","CMSM-h 4G2,5",98,0,17420,0,8592285028302]
["311","CMSM-h 5G0,5",25,0,8360,0,8592285028463]
["311","CMSM-h 5G0,75",37,0,9940,0,8592285028470]
["311","CMSM-h 5G1,0",49,0,12190,0,8592285028487]
["311","CMSM-h 5G1,5",74,0,15650,0,8592285028494]
["311","CMSM-h 5G2,5",123,0,22480,0,8592285028500]
["311","9016 H05VV-F 2X0,75 (N)",15,0,6150,0,8592285018709]
["311","9016 H05VV-F 2X1,0 (N)",20,0,6260,0,8592285018716]
["311","9016 H05VV-F 2X1,5 (N)",29,0,8000,0,8592285018723]
["311","9016 H05VV-F 2X2,5 (N)",49,null,11380,0,8592285018730]
["311","9016 H05VV-F 3G0,75 (N)",22,0,6970,0,8592285018891]
["311","9016 H05VV-F 3G1,0 (N)",29,0,7590,0,8592285018907]
["311","9016 H05VV-F 3G1,5 (N)",44,0,10250,0,8592285018914]
["311","9016 H05VV-F 3G2,5 (N)",74,0,14660,0,8592285018921]
["311","9016 H05VV-F 4G0,75 (N)",29,0,8310,0,8592285019126]
["311","9016 H05VV-F 4G1 (N)",39,0,9740,0,8592285019133]
["311","9016 H05VV-F 4G1,5 (N)",59,0,12510,0,8592285019140]
["311","9016 H05VV-F 4G2,5 (N)",98,0,18450,0,8592285019157]
["311","9016 H05VV-F 5G0,75 (N)",37,0,10150,0,8592285019300]
["311","9016 H05VV-F 5G1,0 (N)",49,0,11540,0,8592285019317]
["311","9016 H05VV-F 5G1,5",74,0,15280,0,8592285019324]
["311","9016 H05VV-F 5G2,5 (N)",123,0,23170,0,8592285019348]
[313,"Info o kabelech YSLY poskytne obchodní oddělení",null,null,null,0]
[314,"Info o kabelech YSLCY poskytne obchodní oddělení",null,null,null,0]
["320","CMSM 12G0,5",59,0,17560,0,8592285025981]
["320","CMSM 12G0,75",88,0,23440,0,8592285025998]
["320","CMSM 12G1,0",118,0,27560,0,8592285026001]
["320","CMSM 12G1,5",176,0,33610,0,8592285026018]
["320","CMSM 12G2,5",294,0,54250,0,8592285026025]
["320","CMSM 19G0,5",93,0,29120,0,8592285026162]
["320","CMSM 19G0,75",140,0,32040,0,8592285026179]
["320","CMSM 19G1,0",186,0,41250,0,8592285026186]
["320","CMSM 19G1,5",279,0,54820,0,8592285026193]
["320","CMSM 24G0,5",118,0,38340,0,8592285026322]
["320","CMSM 24G0,75",176,0,47060,0,8592285026339]
["320","CMSM 24G1,0",235,0,52140,0,8592285026346]
["320","CMSM 24G1,5",353,0,69550,0,8592285026353]
["320","CMSM 37G0,5",181,0,56740,0,8592285026582]
["320","CMSM 37G0,75",272,0,69440,0,8592285026599]
["320","CMSM 37G1,0",363,0,76970,0,8592285026605]
["320","CMSM 37G1,5",544,0,105560,0,8592285026612]
["320","CMSM 7G0,5",34,0,11670,0,8592285027176]
["320","CMSM 7G0,75",51,0,12710,0,8592285027183]
["320","CMSM 7G1,0",69,0,15940,0,8592285027190]
["320","CMSM 7G1,5",103,0,20730,0,8592285027206]
["320","CMSM 7G2,5",172,0,30260,0,8592285027213]
["320","JYDY 7x0,50",34,0,20350,0,8592285058064]
["331","CMFM 2X0,50",36,0,10840,0,8592285023772]
["331","CMFM 2X0,75",43,0,9930,0,8592285023789]
["331","CMFM 2X1,0",50,0,11380,0,8592285023796]
["331","CMFM 2X1,5",64,0,13180,0,8592285023802]
["331","CMFM 2X2,5",90,0,18260,0,8592285023819]
["331","CMFM 3G0,50",43,0,11210,0,8592285024373]
["331","CMFM 3G0,75",52,0,12970,0,8592285024380]
["331","CMFM 3G1,0",61,0,12720,0,8592285024397]
["331","CMFM 3G1,5",82,0,14290,0,8592285024403]
["331","CMFM 3G2,5",118,0,21140,0,8592285024410]
["331","CMFM 4G0,5",51,0,14680,0,8592285024670]
["331","CMFM 4G0,75",61,0,13860,0,8592285024687]
["331","CMFM 4G1,0",75,0,15740,0,8592285024694]
["331","CMFM 4G1,5",101,0,17390,0,8592285024700]
["331","CMFM 4G2,5",147,0,23250,0,8592285024717]
["331","CMFM 5G0,50",59,0,14660,0,8592285024977]
["331","CMFM 5G0,75",74,0,15990,0,8592285024984]
["331","CMFM 5G1,0",89,0,16690,0,8592285024991]
["331","CMFM 5G1,5",121,0,24250,0,8592285025004]
["331","CMFM 5G2,5",178,0,32170,0,8592285025011]
["340","CMFM 12G0,5",108,0,26280,0,8592285022997]
["340","CMFM 12G0,75",144,0,33140,0,8592285023000]
["340","CMFM 12G1,0",176,0,32760,0,8592285023017]
["340","CMFM 12G1,5",245,0,43970,0,8592285023024]
["340","CMFM 12G2,5",377,0,70130,0,8592285023031]
["340","CMFM 19G0,5",154,0,38610,0,8592285023253]
["340","CMFM 19G0,75",207,0,43100,0,8592285023260]
["340","CMFM 19G1,0",257,0,51570,0,8592285023277]
["340","CMFM 19G1,5",363,0,68590,0,8592285023284]
["340","CMFM 24G0,5",162,0,49850,0,8592285023499]
["340","CMFM 24G0,75",222,0,63780,0,8592285023505]
["340","CMFM 24G1,0",276,0,69160,0,8592285023512]
["340","CMFM 24G1,5",391,0,101180,0,8592285023529]
["340","CMFM 37G0,5",228,0,77860,0,8592285023994]
["340","CMFM 37G0,75",319,0,95430,0,8592285024007]
["340","CMFM 37G1,0",403,0,106870,0,8592285024014]
["340","CMFM 37G1,5",576,0,144630,0,8592285024021]
["340","CMFM 7G0,5",71,0,18020,0,8592285025271]
["340","CMFM 7G0,75",90,0,17980,0,8592285025288]
["340","CMFM 7G1,0",112,0,24160,0,8592285025295]
["340","CMFM 7G1,5",155,0,29310,0,8592285025301]
["340","CMFM 7G2,5",232,0,43830,0,8592285025318]
["350","JQTQ-J 14x0,8",70,0,26130,0,8592285057470]
["350","JQTQ-J 19x0,8",95,0,38670,0,8592285057487]
["350","JQTQ-J 24x0,8",119,0,43890,0,8592285057494]
["350","JQTQ-J 30x0,8",148,null,57480,0,8592285057500]
["350","JQTQ-J 7x0,8",36,0,15050,0,8592285057531]
["350","JQTQ-O 2x0,8",11,0,5750,0,8592285057579]
["350","JQTQ-O 4x0,8",21,0,8990,0,8592285057593]
["350","JYTY-J 14x1",109,0,27700,0,8592285058262]
["350","JYTY-J 19x1",148,0,36790,0,8592285058279]
["350","JYTY-J 3x1",24,0,7760,0,8592285058293]
["350","JYTY-J 30x1",232,0,54340,0,8592285058286]
["350","JYTY-J 7x1",55,0,14430,0,8592285058316]
["350","JYTY-O 2x1",17,0,7300,0,8592285058347]
["350","JYTY-O 4x1",32,0,9410,0,8592285058378]
["391","H05Z1-K 0,5 CR",5,0,2370,0,8592285051119]
["391","H05Z1-K 0,75 CR",7,0,2740,0,8592285051140]
["391","H05Z1-K 1,0 CR",10,null,3040,0,8592285051195]
["391","H07Z1-K 10 CR",98,null,21800,0,8592285055278]
["391","H07Z1-K 1,5 CR",15,null,3580,0,8592285055247]
["391","H07Z1-K 16 CR",157,null,33650,0,8592285055292]
["391","H07Z1-K 2,5 CR",25,null,5670,0,8592285055315]
["391","H07Z1-K 25 CR",245,null,48100,0,8592285055346]
["391","H07Z1-K 35 CR",343,null,72720,0,8592285055377]
["391","H07Z1-K 4 CR",39,0,9140,0,8592285055384]
["391","H07Z1-K 50 CR",490,null,97140,0,8592285055407]
["391","H07Z1-K 6 CR",59,null,13040,0,8592285055414]
["391","H07Z1-K 70 CR",686,null,141710,0,8592285055445]
["391","H07Z1-K 95 CR",931,null,189280,0,8592285055452]
["391","H07Z1-K 120 CR",1176,0,231370,0]
["391","H07Z1-K 150 CR",1470,0,284560,0]
["391","H07Z1-K 185 CR",1813,0,375480,0]
["391","H07Z1-K 240 CR",2352,0,485760,0]
["391V","1-CHTH-V 180 1x10 CR",98,0,48990,0]
["391V","1-CHTH-V 180 1x16 CR",157,0,59510,0]
["391V","1-CHTH-V 180 1x25 CR",245,0,72920,0]
["391V","1-CHTH-V 180 1x35 CR",343,0,92440,0]
["391V","1-CHTH-V 180 1x50 CR",490,0,121130,0]
["391V","1-CHTH-V 180 1x70 CR",686,0,165150,0]
["391V","1-CHTH-V 180 1x95 CR",931,0,208110,0,0]
["391V","1-CHTH-V 180 1x120 ZZ",1176,0,247400,0,8592285016323]
["391V","1-CHTH-V 180 1x150 CR",1470,0,284050,0,8592285098534]
["391V","1-CHTH-V 180 1x185 CR",1813,0,377210,0]
["391V","1-CHTH-V 180 1x240 CR",2352,0,474350,0]
["391V","1-CHTH-V 180 1x300 CR",2940,0,571010,0,8592285016354]
["391R","1-CHTH-R 1x6 CR",59,0,24900,0]
["391R","1-CHTH-R 1x10 CR",98,0,34990,0,8592285098497]
["391R","1-CHTH-R 1x16 CR",157,0,43560,0]
["391R","1-CHTH-R 1x25 CR",245,0,58680,0]
["391R","1-CHTH-R 1x35 CR",343,0,75630,0]
["391R","1-CHTH-R 1x50 CR",490,0,99800,0]
["391R","1-CHTH-R 1x70 CR",686,0,138110,0]
["391R","1-CHTH-R 1x95 CR",931,0,176680,0]
["391R","1-CHTH-R 1x120 CR",1176,0,207940,0,8592285098527]
["391R","1-CHTH-R 1x150 CR",1470,0,245320,0]
["391R","1-CHTH-R 1x185 CR",1813,0,333380,0]
["391R","1-CHTH-R 1x240 CR",2352,0,412240,0,8592285016217]
["391R","1-CHTH-R 1x300 CR",2940,0,518400,0,8592285016255]
["401","H05V-U 0,5 CR",5,null,1030,0,8592285049604]
["401","H05V-U 0,75 CR",7,null,1410,0,8592285049680]
["401","H05V-U 1,0- CR",10,null,1600,0,8592285049765]
["401","H07V-U 1,5 CR",15,null,1920,0,8592285054615]
["401","H07V-U 2,5 CR",25,null,3110,0,8592285054936]
["402","H07V-U 4 CR",39,null,5050,0,8592285055056]
["402","H07V-U 6 CR",59,0,7250,0,8592285055155]
["403","H07V-U 10 CR",98,null,13000,0,8592285054738]
["403","H07V-U 16 CR",157,0,20700,0,8592285054837]
["410","CYKYLO-J 3x1,5",44,0,6180,0,8592285037250]
["410","CYKYLO-J 3x2,5",74,0,9890,0,8592285037267]
["410","CYKYLO-O 2x1,5",29,0,4430,0,8592285037274]
["410","CYKYLO-O 2x2,5",49,0,7010,0,8592285037281]
["411","CYKY-J 3x1,5",44,0,10720,0,8592285036895]
["411","CYKY-J 3x2,5",74,0,17000,0,8592285036925]
["411","CYKY-J 4x1,5",59,0,14470,0,8592285036970]
["411","CYKY-J 4x2,5",98,0,22850,0,8592285037007]
["411","CYKY-J 5x1,5",74,0,17440,0,8592285037038]
["411","CYKY-J 5x2,5",123,0,27630,0,8592285037069]
["411","CYKY-O 2x1,5",29,0,7930,0,8592285037380]
["411","CYKY-O 2x2,5",49,0,12210,0,8592285037397]
["412","CYKY-J 3x4",118,0,27880,0,8592285036932]
["412","CYKY-J 3x6",176,0,42230,0,8592285036949]
["412","CYKY-J 4x4",157,0,35670,0,8592285037014]
["412","CYKY-J 4x6",235,0,51640,0,8592285037021]
["412","CYKY-J 5x4",196,0,43850,0,8592285037076]
["412","CYKY-J 5x6",294,0,63040,0,8592285037090]
["412","CYKY-O 2x4",78,0,20440,0,8592285037403]
["412","CYKY-O 2x6",118,0,29890,0,8592285037410]
["413","CYKY-J 3x10",294,0,72820,0,8592285036901]
["413","CYKY-J 3x16",470,0,113720,0,8592285036918]
["413","CYKY-J 4x10",392,0,85380,0,8592285036987]
["413","CYKY-J 4x16 RE",627,0,136380,0,8592285036994]
["413","CYKY-J 5x10",490,0,106600,0,8592285037045]
["413","CYKY-J 5x16 RE",784,0,162950,0,8592285037052]
["413","CYKY-O 2x10 RE",196,0,66240,0,8592285097667]
["413","CYKY-O 2x16 RE",314,0,109940,0,0]
["420","CYKY-J 12x1,5",176,null,45000,0,8592285036802]
["420","CYKY-J 12x2,5",294,null,78630,0,8592285036819]
["420","CYKY-J 12x4",470,null,113010,0,8592285036826]
["420","CYKY-J 19x1,5",279,null,70750,0,8592285036833]
["420","CYKY-J 19x2,5",466,null,118040,0,8592285036840]
["420","CYKY-J 24 X 1,5",353,null,86390,0,8592285036857]
["420","CYKY-J 24x2,5",588,null,142770,0,8592285036864]
["420","CYKY-J 37x1,5",544,null,131150,0,8592285036871]
["420","CYKY-J 37x2,5",907,0,220790,0,8592285036888]
["420","CYKY-J 48x1,5",706,0,185080,0,8592285036963]
["420","CYKY-J 48x2,5",1176,null,294020,0,8592285036956]
["420","CYKY-J 7x1,5",103,null,24060,0,8592285037113]
["420","CYKY-J 7x2,5",172,null,40340,0,8592285037120]
["420","CYKY-J 7x4",274,null,65040,0,8592285037137]
["431","H07V-R 10 CR",98,0,12460,0,8592285053953]
["431","H07V-R 16 CR",157,0,17710,0,8592285054103]
["431","H07V-R 25 CR",245,null,27780,0,8592285054257]
["431","H07V-R 35 CR",343,0,40830,0,8592285054318]
["431","1-YY 1x25 CR",245,0,37030,0,8592285016491]
["431","1-YY 1x35 CR",343,0,51080,0,8592285016545]
["432","H07V-R 50 CR",490,null,56870,0,8592285054400]
["432","H07V-R 70 CR",686,null,83820,0,8592285054509]
["432","H07V-R 95 CR",931,0,114490,0,8592285054554]
["432","1-YY 1x50 CR",490,0,62350,0,8592285016590]
["432","1-YY 1x70 CR",686,0,90860,0,8592285016675]
["432","1-YY 1x95 CR",931,0,119180,0,8592285016705]
["433","H07V-R 120 CR",1176,null,145140,0,8592285054004]
["433","H07V-R 150 CR",1470,null,178240,0,8592285054059]
["433","H07V-R 185 CR",1813,null,258430,0,8592285054158]
["433","H07V-R 240 CR",2352,null,354730,0,8592285054202]
["433","H07V-R 300 CR",2940,null,437960,0,8592285054301]
["433","1-YY 1x120 CR",1176,0,145380,0,8592285016378]
["433","1-YY 1x150 CR",1470,0,176810,0,8592285016408]
["433","1-YY 1x185 CR",1813,0,228010,0,8592285016446]
["433","1-YY 1x240 CR",2352,0,281170,0,8592285016460]
["433","1-YY 1x300 CR",2940,0,398580,0,8592285016514]
["433","1-YY 1x400 CR",3920,null,509980,0,8592285016569]
["433","1-YY 1x500 CR",4900,0,654080,0,8592285016620]
["433","1-YY 1x630 CR",6174,0,889140,0]
["441","1-CYKY-J 3x35+25 RM/RM",1274,0,254180,0,8592285012752]
["441","1-CYKY-J 4 x 25 RM",980,0,203110,0,8592285012813]
["441","1-CYKY-J 4x35 RM",1372,0,273530,0,8592285012820]
["441","1-CYKY-J 5 x 35 RM",1715,0,360620,0,8592285012875]
["441","1-CYKY-J 5x25 RM",1225,0,249240,0,8592285012899]
["441","1-CYKY-O 3x35+25 RM/RM",1274,0,259260,0,8592285012981]
["441","1-CYKY-O 4 x 35 RM",1372,0,279000,0,8592285013049]
["441","1-CYKY-O 4x25 RM",980,0,207170,0,8592285013032]
["441","1-CYKY-O 5 x 35 RM",1715,0,367830,0,8592285013087]
["441","1-CYKY-O 5x25 RM",1225,0,254220,0,8592285013094]
["442","1-CYKY-J 3x50+35 SM/RM",1813,0,362570,0,8592285012776]
["442","1-CYKY-J 3x70+50 SM/RM",2548,0,511510,0,8592285012783]
["442","1-CYKY-J 3x95+50 SM/RM",3283,0,657800,0,8592285012790]
["442","1-CYKY-J 3x95+70 SM/RM",3479,0,680320,0,8592285012806]
["442","1-CYKY-J 4x50 SM",1960,0,396380,0,8592285012844]
["442","1-CYKY-J 4x70 SM",2744,0,538340,0,8592285012851]
["442","1-CYKY-J 4x95 SM",3724,0,715610,0,8592285012868]
["442","1-CYKY-J 5x50 RM",2450,0,508790,0,8592285012905]
["442","1-CYKY-J 5x70 RM",3430,0,670360,0,8592285012912]
["442","1-CYKY-J 5x95 RM",4655,0,886380,0,8592285012929]
["442","1-CYKY-O 3x50+35 SM/RM",1813,0,369820,0,8592285012998]
["442","1-CYKY-O 3x70+50 SM/RM",2548,0,521740,0,8592285013001]
["442","1-CYKY-O 3x95+50 SM/RM",3283,0,670960,0,8592285013018]
["442","1-CYKY-O 3x95+70 SM/RM",3479,0,693930,0,8592285013025]
["442","1-CYKY-O 4x50 SM",1960,0,404310,0,8592285013056]
["442","1-CYKY-O 4x70 SM",2744,0,549110,0,8592285013063]
["442","1-CYKY-O 4x95 SM",3724,0,729920,0,8592285013070]
["442","1-CYKY-O 5x50 RM",2450,0,518970,0,8592285013100]
["442","1-CYKY-O 5x70 RM",3430,null,683770,0,8592285013117]
["442","1-CYKY-O 5x95 RM",4655,null,904110,0,8592285013124]
["443","1-CYKY-J 3x120+50 SM/RM",4018,0,782400,0,8592285012691]
["443","1-CYKY-J 3x120+70 SM/RM",4214,0,764870,0,8592285012707]
["443","1-CYKY-J 3x150+70 SM/RM",5096,0,955370,0,8592285012714]
["443","1-CYKY-J 3x185+95 SM/RM",6370,0,1237330,0,8592285012738]
["443","1-CYKY-J 3x240+120 SM/RM",8232,0,1551170,0,8592285012745]
["443","1-CYKY-O 3x120+50 SM/RM",4018,0,798050,0,8592285012936]
["443","1-CYKY-O 3x120+70 SM/RM",4214,0,780170,0,8592285012943]
["443","1-CYKY-O 3x150+70 SM/RM",5096,0,974480,0,8592285012950]
["443","1-CYKY-O 3x185+95 SM/RM",6370,0,1262080,0,8592285012967]
["443","1-CYKY-O 3x240+120 SM/RM",8232,0,1582190,0,8592285012974]
["450","CYKCY-O 12x1,5",234,0,90080,0,8592285033764]
["450","CYKCY-O 12x2,5",393,0,121460,0,8592285033771]
["450","CYKCY-O 12x4",589,0,168300,0,8592285033788]
["450","CYKCY-O 19x1,5",346,0,116640,0,8592285033795]
["450","CYKCY-O 19x2,5",541,0,163540,0,8592285033801]
["450","CYKCY-O 24x1,5",433,0,144920,0,8592285033818]
["450","CYKCY-O 24x2,5",678,0,200180,0,8592285033825]
["450","CYKCY-O 3x1,5",77,0,43830,0,8592285033849]
["450","CYKCY-O 3x2,5",141,0,52460,0,8592285033856]
["450","CYKCY-O 3x4",195,0,66850,0]
["450","CYKCY-O 3x6",261,0,82860,0]
["450","CYKCY-O 3x10",384,0,112230,0]
["450","CYKCY-O 3x16",572,0,146660,0]
["450","CYKCY-O 37x1,5",679,0,192930,0,8592285033832]
["450","CYKCY-O 37x2,5",1047,0,267150,0]
["450","CYKCY-O 4x10",490,0,132010,0,8592285033870]
["450","CYKCY-O 4x1,5",95,0,48910,0,8592285033863]
["450","CYKCY-O 4x16",738,0,180520,0,8592285033887]
["450","CYKCY-O 4x2,5",138,0,59520,0,8592285033894]
["450","CYKCY-O 4x4",208,0,76540,0,8592285033900]
["450","CYKCY-O 4x6",291,0,93300,0,8592285033917]
["450","CYKCY-O 48x1,5",849,0,234650,0]
["450","CYKCY-O 48x2,5",1328,0,332450,0]
["450","CYKCY-O 5x1,5",113,0,53890,0,8592285033931]
["450","CYKCY-O 5x2,5",166,0,67400,0,8592285033924]
["450","CYKCY-O 5x4",287,0,89110,0,8592285033948]
["450","CYKCY-O 5x6",387,0,106530,0,8592285033955]
["450","CYKCY-O 5x10",597,0,148530,0]
["450","CYKCY-O 5x16",905,0,206660,0]
["450","CYKCY-O 7x1,5",146,0,64590,0,8592285033962]
["450","CYKCY-O 7x2,5",219,0,80940,0,8592285033979]
["450","CYKCY-O 7x4",366,0,115760,0,8592285033986]
["450","CYKCY-O 2x2,5",113,0,46600,0,8592285034068]
["450","CYKCY-O 2x4",153,0,58780,0,8592285034075]
["450","CYKCY-O 2x6",198,0,67570,0,8592285034082]
["450","CYKCY-O 2x10",289,0,92340,0]
["450","CYKCY-O 2x16",412,0,116890,0]
["450","Info o kabelech NYCY a NYCWY poskytne obchodní oddělení",null,null,null,0]
["450S6","Info o 3-6kV kabelech poskytne obchodní oddělení",null,null,null,0]
["481PS","Info o kabelech PRAFlaCom poskytne obchodní oddělení"]
["481R6","Info o 3-6kV kabelech poskytne obchodní oddělení"]
["481PR","PRAFlaSafe X 1x10 RE ZZ",98,0,38500,0]
["481PR","PRAFlaSafe X 1x120 RM ZZ",1176,0,208400,0]
["481PR","PRAFlaSafe X 1x150 RM ZZ",1470,0,252600,0,8592285101548]
["481PR","PRAFlaSafe X 1x16 RE ZZ",157,0,47500,0]
["481PR","PRAFlaSafe X 1x185 RM ZZ",1813,0,307900,0]
["481PR","PRAFlaSafe X 1x240 RM ZZ",2352,0,392500,0]
["481PR","PRAFlaSafe X 1x25 RM ZZ",245,0,61900,0]
["481PR","PRAFlaSafe X 1x300 RM ZZ",2940,0,491700,0]
["481PR","PRAFlaSafe X 1x35 RM ZZ",343,0,76300,0]
["481PR","PRAFlaSafe X 1x50 RM ZZ",490,0,103500,0,8592285098558]
["481PR","PRAFlaSafe X 1x6 RE ZZ",59,0,30800,0]
["481PR","PRAFlaSafe X 1x70 RM ZZ",686,0,132800,0]
["481PR","PRAFlaSafe X 1x95 RM ZZ",931,0,168300,0]
["481PR","PRAFlaSafe X-J 12x1,5 RE",176,0,58300,0,8592285101470]
["481PR","PRAFlaSafe X-J 12x2,5 RE",294,0,79100,0]
["481PR","PRAFlaSafe X-J 12x4 RE",470,0,113400,0]
["481PR","PRAFlaSafe X-J 19x1,5 RE",279,0,81900,0]
["481PR","PRAFlaSafe X-J 19x2,5 RE",466,0,110800,0]
["481PR","PRAFlaSafe X-J 24x1,5 RE",353,0,100900,0]
["481PR","PRAFlaSafe X-J 24x2,5 RE",588,0,141600,0]
["481PR","PRAFlaSafe X-J 3x10 RE",294,0,74400,0,8592285101722]
["481PR","PRAFlaSafe X-J 3x120+50 SM/RM",4018,0,680600,0]
["481PR","PRAFlaSafe X-J 3x120+70 SM/RM",4214,0,706900,0]
["481PR","PRAFlaSafe X-J 3x1,5 RE",44,0,23600,0,8592285096981]
["481PR","PRAFlaSafe X-J 3x150+70 SM/RM",5096,0,821900,0]
["481PR","PRAFlaSafe X-J 3x16 RE",470,0,101500,0]
["481PR","PRAFlaSafe X-J 3x185+95 SM/SM",6370,0,1261550,0]
["481PR","PRAFlaSafe X-J 3x240+120 SM/SM",8232,0,1630250,0]
["481PR","PRAFlaSafe X-J 3x2,5 RE",74,0,29200,0,8592285096998]
["481PR","PRAFlaSafe X-J 3x25 RM",735,0,160800,0]
["481PR","PRAFlaSafe X-J 3x25+16 RM/RE",892,0,247950,0]
["481PR","PRAFlaSafe X-J 3x35 RM",1029,0,204300,0]
["481PR","PRAFlaSafe X-J 3x35+25 SM/RM",1274,0,233800,0]
["481PR","PRAFlaSafe X-J 3x4 RE",118,0,39500,0,8592285101531]
["481PR","PRAFlaSafe X-J 3x50 RM",1470,0,275700,0]
["481PR","PRAFlaSafe X-J 3x50+25 SM/RM",1715,0,295300,0]
["481PR","PRAFlaSafe X-J 3x50+35 SM/RM",1813,0,305000,0]
["481PR","PRAFlaSafe X-J 3x6 RE",176,0,51500,0,8592285101616]
["481PR","PRAFlaSafe X-J 3x70 SM",2058,0,375600,0]
["481PR","PRAFlaSafe X-J 3x70+35 SM/RM",2401,0,414100,0]
["481PR","PRAFlaSafe X-J 3x70+50 SM/RM",2548,0,433900,0]
["481PR","PRAFlaSafe X-J 3x95+50 SM/RM",3283,0,536100,0]
["481PR","PRAFlaSafe X-J 37x1,5 RE",544,0,138400,0]
["481PR","PRAFlaSafe X-J 37x2,5 RE",907,0,195500,0]
["481PR","PRAFlaSafe X-J 4x10 RE",392,0,89100,0,8592285097698]
["481PR","PRAFlaSafe X-J 4x120 SM",4704,0,772700,0]
["481PR","PRAFlaSafe X-J 4x1,5 RE",59,0,26700,0,8592285098640]
["481PR","PRAFlaSafe X-J 4x150 SM",5880,0,956800,0]
["481PR","PRAFlaSafe X-J 4x16 RE",627,0,126400,0,8592285098770]
["481PR","PRAFlaSafe X-J 4x185 SM",7252,0,1150400,0]
["481PR","PRAFlaSafe X-J 4x240 SM",9408,0,1452700,0]
["481PR","PRAFlaSafe X-J 4x2,5 RE",98,0,34400,0,8592285101524]
["481PR","PRAFlaSafe X-J 4x25 RM",980,0,186700,0]
["481PR","PRAFlaSafe X-J 4x35 RM",1372,0,244000,0]
["481PR","PRAFlaSafe X-J 4x4 RE",157,0,48100,0]
["481PR","PRAFlaSafe X-J 4x50 SM",1960,0,302200,0]
["481PR","PRAFlaSafe X-J 4x6 RE",235,0,61200,0]
["481PR","PRAFlaSafe X-J 4x70 SM",2744,0,438200,0]
["481PR","PRAFlaSafe X-J 4x95 SM",3724,0,620800,0]
["481PR","PRAFlaSafe X-J 48x1,5 RE",706,0,170400,0]
["481PR","PRAFlaSafe X-J 48x2,5 RE",1176,0,249200,0]
["481PR","PRAFlaSafe X-J 5x10 RE",490,0,106100,0,8592285098756]
["481PR","PRAFlaSafe X-J 5x120 SM",5880,0,958500,0]
["481PR","PRAFlaSafe X-J 5x1,5 RE",74,0,30800,0,8592285097001]
["481PR","PRAFlaSafe X-J 5x150 SM",7350,0,1178600,0]
["481PR","PRAFlaSafe X-J 5x16 RE",784,0,150700,0,8592285098787]
["481PR","PRAFlaSafe X-J 5x2,5 RE",123,0,39400,0,8592285097018]
["481PR","PRAFlaSafe X-J 5x25 RM",1225,0,231200,0]
["481PR","PRAFlaSafe X-J 5x35 RM",1715,0,300000,0]
["481PR","PRAFlaSafe X-J 5x4 RE",196,0,54900,0,8592285097025]
["481PR","PRAFlaSafe X-J 5x50 SM",2450,0,436400,0]
["481PR","PRAFlaSafe X-J 5x6 RE",294,0,72600,0,8592285097032]
["481PR","PRAFlaSafe X-J 5x70 SM",3430,0,536100,0]
["481PR","PRAFlaSafe X-J 5x95 SM",4655,0,818900,0]
["481PR","PRAFlaSafe X-J 7x1,5 RE",103,0,39600,0,8592285099449]
["481PR","PRAFlaSafe X-J 7x2,5 RE",172,0,52800,0]
["481PR","PRAFlaSafe X-J 7x4 RE",274,0,74200,0]
["481PR","PRAFlaSafe X-J 7x6 RE",412,0,96000,0]
["481PR","PRAFlaSafe X-O 2x10 RE",196,0,61200,0]
["481PR","PRAFlaSafe X-O 2x1,5 RE",29,0,21200,0,8592285097209]
["481PR","PRAFlaSafe X-O 2x16 RE",314,0,81400,0]
["481PR","PRAFlaSafe X-O 2x2,5 RE",49,0,25900,0,8592285099319]
["481PR","PRAFlaSafe X-O 2x4 RE",78,0,33700,0]
["481PR","PRAFlaSafe X-O 2x6 RE",118,0,41600,0]
["481","1-CXKH-R-O 2x1,5",29,0,12630,0,8592285008656]
["481","1-CXKH-R-J 3x1,5 RE",44,0,13460,0,8592285007994]
["481","1-CXKH-R-J 4x1,5",59,0,18390,0,8592285008243]
["481","1-CXKH-R-J 5x1,5",74,0,19670,0,8592285008397]
["481","1-CXKH-R-J 7x1,5",103,0,35210,0,8592285008540]
["481","1-CXKH-R-J 12x1,5",176,0,51700,0,8592285007871]
["481","1-CXKH-R-J 19x1,5",279,0,72040,0,8592285007918]
["481","1-CXKH-R-J 24x1,5",353,0,92090,0,8592285007949]
["481","1-CXKH-R-J 37x1,5",544,0,128470,0,8592285007970]
["481","1-CXKH-R-J 48x1,5",706,0,160140,0,8592285008229]
["481","1-CXKH-R-O 2x2,5",49,0,16880,0,8592285008687]
["481","1-CXKH-R-J 3x2,5",74,0,19460,0,8592285008069]
["481","1-CXKH-R-J 4x2,5",98,0,25880,0,8592285008304]
["481","1-CXKH-R-J 5x2,5",123,0,27430,0,8592285008458]
["481","1-CXKH-R-J 7x2,5",172,0,46770,0,8592285008557]
["481","1-CXKH-R-J 12x2,5",294,0,71460,0,8592285007888]
["481","1-CXKH-R-J 19x2,5",466,0,103560,0,8592285007925]
["481","1-CXKH-R-J 24x2,5",588,0,132370,0,8592285007956]
["481","1-CXKH-R-J 37x2,5",907,0,188170,0,8592285007987]
["481","1-CXKH-R-J 48x2,5",1176,0,241140,0]
["481","1-CXKH-R-O 2x4",78,0,26170,0,8592285008694]
["481","1-CXKH-R-J 3x4",118,0,31820,0,8592285008137]
["481","1-CXKH-R-J 4x4",157,0,34160,0,8592285008342]
["481","1-CXKH-R-J 5x4 RE",196,0,40370,0,8592285008489]
["481","1-CXKH-R-J 7x4",274,0,68530,0,8592285008564]
["481","1-CXKH-R-J 12x4",470,null,107510,0,8592285007895]
["481","1-CXKH-R-O 2x6",118,0,33690,0,8592285008700]
["481","1-CXKH-R-J 3x6",176,0,42270,0,8592285008175]
["481","1-CXKH-R-J 4x6",235,0,46060,0,8592285008366]
["481","1-CXKH-R-J 5x6",294,0,55890,0,8592285008502]
["481","1-CXKH-R-J 7x6",412,0,91230,0,8592285008571]
["481","1-CXKH-R-O 2x10 RE",196,0,59480,0,8592285008663]
["481","1-CXKH-R-J 3x10 RE",294,0,72740,0,8592285008007]
["481","1-CXKH-R-J 4x10 RE",392,0,73490,0,8592285008250]
["481","1-CXKH-R-J 5x10 RE",490,0,86940,0,8592285008403]
["481","1-CXKH-R-O 2x16 RE",314,0,78570,0,8592285008670]
["481","1-CXKH-R-J 3x16 RE",470,0,99440,0,8592285008045]
["481","1-CXKH-R-J 4x16 RE",627,0,102470,0,8592285008281]
["481","1-CXKH-R-J 5x16 RE",784,0,124200,0,8592285008434]
["481","1-CXKH-R-J 3x25 RM",735,0,142220,0,8592285008083]
["481","1-CXKH-R-J 4x25 RM",980,0,171830,0,8592285008328]
["481","1-CXKH-R-J 5x25 RM",1225,0,218440,0,8592285008465]
["481","1-CXKH-R-J 3x35 RM",1029,0,188140,0,8592285008106]
["481","1-CXKH-R-J 4x35 RM",1372,0,234570,0,8592285008335]
["481","1-CXKH-R-J 5x35 RM",1715,0,288280,0,8592285008472]
["481","1-CXKH-R-J 3x50 RM",1470,0,271290,0,8592285008144]
["481","1-CXKH-R-J 4x50 SM",1960,0,328280,0,8592285008359]
["481","1-CXKH-R-J 5x50 RM",2450,0,435610,0,8592285008496]
["481","1-CXKH-R-J 3x70 RM",2058,0,371150,0,8592285008182]
["481","1-CXKH-R-J 4x70 SM",2744,0,456900,0,8592285008373]
["481","1-CXKH-R-J 5x70 RM",3430,0,599350,0,8592285008519]
["481","1-CXKH-R-J 4x95 SM",3724,0,649130,0,8592285008380]
["481","1-CXKH-R-J 5x95 RM",4655,0,805560,0,8592285008526]
["481","1-CXKH-R-J 4x120 SM",4704,0,825800,0,8592285008267]
["481","1-CXKH-R-J 5x120 RM",5880,0,1021290,0,8592285008410]
["481","1-CXKH-R-J 4x150 SM",5880,0,957720,0,8592285008274]
["481","1-CXKH-R-J 5x150 RM",7350,0,1256320,0,8592285008427]
["481","1-CXKH-R-J 4x185 SM",7252,null,1155210,0,8592285008298]
["481","1-CXKH-R-J 4x240 SM",9408,0,1468920,0,8592285008311]
["481","1-CXKH-R-J 3x25/16 RM/RE",892,null,168540,0,8592285008090]
["481","1-CXKH-R-J 3x35/16 SM/RE",1186,0,202330,0,8592285008113]
["481","1-CXKH-R-J 3x35/25 RM/RM",1274,0,226000,0,8592285008120]
["481","1-CXKH-R-J 3x50/25 SM/RM",1715,0,268540,0,8592285008151]
["481","1-CXKH-R-J 3x50+35 SM/RM",1813,0,274720,0,8592285008168]
["481","1-CXKH-R-J 3x70/35 SM/RM",2401,0,374500,0,8592285008199]
["481","1-CXKH-R-J 3x70/50 SM/RM",2548,0,414010,0,8592285008205]
["481","1-CXKH-R-J 3x95/50 SM/RM",3283,0,494900,0,8592285008212]
["481","1-CXKH-R-J 3x120/50 SM/RM",4018,0,642530,0,8592285008014]
["481","1-CXKH-R-J 3x120/70 SM/RM",4214,0,672070,0,8592285008021]
["481","1-CXKH-R-J 3x150/70 SM/RM",5096,0,787800,0,8592285008038]
["481","1-CXKH-R-J 3x185/95 SM/RM",6370,0,949400,0,8592285008052]
["481","1-CXKH-R-J 3x240/120 SM/RM",8232,0,1233480,0,8592285008076]
["481","1-CXKH-R 1 x 6 RE ZZ",59,0,26190,0,8592285006232]
["481","1-CXKH-R 1 x 10 RE ZZ",98,0,32500,0,8592285006157]
["481","1-CXKH-R 1 x 16 RE ZZ",157,null,40890,0,8592285006171]
["481","1-CXKH-R 1 x 25 RM CR",245,0,52520,0,8592285006188]
["481","1-CXKH-R 1x35 RM CR",343,0,66440,0,8592285006478]
["481","1-CXKH-R 1x50 RM CR",490,0,93380,0,8592285006492]
["481","1-CXKH-R 1 x 70 RM CR",686,0,123460,0,8592285006256]
["481","1-CXKH-R 1 x 95 RM CR",931,0,160460,0,8592285006270]
["481","1-CXKH-R 1x120 RM CR",1176,0,194790,0,8592285006393]
["481","1-CXKH-R 1 x 150 RM CR",1470,0,246370,0,8592285006164]
["481","1-CXKH-R 1x185 RM CR",1813,0,301410,0,8592285006430]
["481","1-CXKH-R 1x240 RM CR",2352,0,375700,0,8592285006454]
["481","1-CXKH-R 1 x 300 RM CR",2940,null,492020,0,8592285006201]
["481R","Info o 3-6kV kabelech poskytne obchodní oddělení",null,null,null,0]
["481AR","1-AXKH-R-J 4x25 RE",0,300,101670,0,0]
["481AR","1-AXKH-R-J 4x35 RE",0,420,118130,0,8592285003446]
["481AR","1-AXKH-R-J 4x50 RE",0,600,145110,0,8592285003453]
["481AR","1-AXKH-R-J 4x70 RE",0,840,190280,0,0]
["481AR","1-AXKH-R-J 5x25 RE",0,385,145320,0]
["481AR","1-AXKH-R-J 5x35 RE",0,525,167580,0]
["481AR","1-AXKH-R-J 5x50 RE",0,750,172960,0]
["481AR","1-AXKH-R-J 5x70 SM",0,1050,228650,0,0]
["481AR","1-AXKH-R-J 5x95 SM",0,1425,282260,0,0]
["481AR","1-AXKH-R-J 3x95/70 SM/RM",0,1065,207920,0]
["481AR","1-AXKH-R-J 3x120/70 SM/RM",0,1290,235520,0,0]
["481AR","1-AXKH-R-J 3x150/70 SM/RM",0,1560,277530,0,0]
["481AR","1-AXKH-R-J 3x185/95 SM/RM",0,1950,337520,0,8592285090781]
["481AR","1-AXKH-R-J 3x240/120 SM/RM",0,2520,416840,0,8592285003439]
["481SR","Info o kabelech CXFH-R poskytne obchodní oddělení",null,null,null,0]
["482PR","PRAFlaDur 1x10 RE ZZ PH120-R",98,0,37300,0]
["482PR","PRAFlaDur 1x120 RM ZZ PH120-R",1176,0,247300,0]
["482PR","PRAFlaDur 1x150 RM ZZ PH120-R",1470,0,291400,0,8592285100909]
["482PR","PRAFlaDur 1x16 RE ZZ PH120-R",157,0,47500,0]
["482PR","PRAFlaDur 1x25 RM ZZ PH120-R",245,0,69500,0]
["482PR","PRAFlaDur 1x35 RM ZZ PH120-R",343,0,90700,0]
["482PR","PRAFlaDur 1x50 RM ZZ PH120-R",490,0,121500,0]
["482PR","PRAFlaDur 1x6 RE ZZ PH120-R",59,0,29900,0]
["482PR","PRAFlaDur 1x70 RM ZZ PH120-R",686,0,157700,0]
["482PR","PRAFlaDur 1x95 RM ZZ PH120-R",931,0,203300,0]
["482PR","PRAFlaDur 90 1x10 RE ZZ",98,0,49400,0]
["482PR","PRAFlaDur 90 1x120 RM ZZ",1176,0,279500,0]
["482PR","PRAFlaDur 90 1x150 RM ZZ",1470,0,329400,0]
["482PR","PRAFlaDur 90 1x16 RM ZZ",157,0,76200,0]
["482PR","PRAFlaDur 90 1x25 RM ZZ",245,0,78500,0]
["482PR","PRAFlaDur 90 1x35 RM ZZ",343,0,102600,0]
["482PR","PRAFlaDur 90 1x50 RM ZZ",490,0,137300,0]
["482PR","PRAFlaDur 90 1x70 RM ZZ",686,0,178200,0]
["482PR","PRAFlaDur 90 1x95 RM ZZ",931,0,229900,0]
["482PR","PRAFlaDur 90-J 10x1,5 RE",147,0,147800,0]
["482PR","PRAFlaDur 90-J 10x2,5 RE",245,0,180700,0]
["482PR","PRAFlaDur 90-J 10x4 RE",392,0,228600,0]
["482PR","PRAFlaDur 90-J 12x1,5 RE",176,0,166200,0]
["482PR","PRAFlaDur 90-J 12x2,5 RE",294,0,206100,0]
["482PR","PRAFlaDur 90-J 12x4 RE",470,0,256700,0]
["482PR","PRAFlaDur 90-J 14x2,5 RE",343,0,230500,0]
["482PR","PRAFlaDur 90-J 19x2,5 RE",466,0,294200,0]
["482PR","PRAFlaDur 90-J 24x2,5 RE",588,0,365300,0]
["482PR","PRAFlaDur 90-J 30x2,5 RE",735,0,456400,0]
["482PR","PRAFlaDur 90-J 3x1,5 RE",44,0,62700,0]
["482PR","PRAFlaDur 90-J 3x10 RE",294,0,149400,0]
["482PR","PRAFlaDur 90-J 3x120 RM",3528,0,892100,0]
["482PR","PRAFlaDur 90-J 3x120+70 RM/RM",4214,0,1046700,0]
["482PR","PRAFlaDur 90-J 3x150 RM",4410,0,1036600,0]
["482PR","PRAFlaDur 90-J 3x150+70 RM/RM",5096,0,1214100,0]
["482PR","PRAFlaDur 90-J 3x16 RE",470,0,204200,0]
["482PR","PRAFlaDur 90-J 3x2,5 RE",74,0,74200,0]
["482PR","PRAFlaDur 90-J 3x25 RM",735,0,251900,0]
["482PR","PRAFlaDur 90-J 3x35 RM",1029,0,312900,0]
["482PR","PRAFlaDur 90-J 3x35+16 RM/RM",1186,0,353500,0]
["482PR","PRAFlaDur 90-J 3x4 RE",118,0,90000,0]
["482PR","PRAFlaDur 90-J 3x50+25 RM/RM",1715,0,500200,0]
["482PR","PRAFlaDur 90-J 3x6RE",176,0,111400,0]
["482PR","PRAFlaDur 90-J 3x70 RM",2058,0,561500,0]
["482PR","PRAFlaDur 90-J 3x70+50 RM/RM",2401,0,643100,0]
["482PR","PRAFlaDur 90-J 3x95 RM",2793,0,732100,0]
["482PR","PRAFlaDur 90-J 3x95+50 RM/RM",3283,0,851000,0]
["482PR","PRAFlaDur 90-J 40x2,5 RE",980,0,586600,0]
["482PR","PRAFlaDur 90-J 4x1,5 RE",58.8,0,73300,0]
["482PR","PRAFlaDur 90-J 4x10 RE",392,0,182900,0]
["482PR","PRAFlaDur 90-J 4x120RM",4704,0,1143400,0]
["482PR","PRAFlaDur 90-J 4x150 RM",5880,0,1338400,0]
["482PR","PRAFlaDur 90-J 4x16 RE",627.20000000000005,0,246500,0]
["482PR","PRAFlaDur 90-J 4x2,5 RE",98,0,87300,0]
["482PR","PRAFlaDur 90-J 4x25 RM",980,0,314600,0]
["482PR","PRAFlaDur 90-J 4x35 RM",1372,0,353200,0]
["482PR","PRAFlaDur 90-J 4x4 RE",157,0,108100,0]
["482PR","PRAFlaDur 90-J 4x50 RM",1960,0,549900,0]
["482PR","PRAFlaDur 90-J 4x6 RE",235,0,134300,0]
["482PR","PRAFlaDur 90-J 4x70 RM",2744,0,711500,0]
["482PR","PRAFlaDur 90-J 4x95 RM",3724,0,935700,0]
["482PR","PRAFlaDur 90-J 5x1,5 RE",74,0,85100,0]
["482PR","PRAFlaDur 90-J 5x10 RE",490,0,219300,0]
["482PR","PRAFlaDur 90-J 5x120 RM",5880,0,1392100,0]
["482PR","PRAFlaDur 90-J 5x150 RM",7350,0,1653300,0]
["482PR","PRAFlaDur 90-J 5x16 RE",784,0,301600,0]
["482PR","PRAFlaDur 90-J 5x2,5 RE",123,0,102700,0]
["482PR","PRAFlaDur 90-J 5x25 RM",1225,0,384600,0]
["482PR","PRAFlaDur 90-J 5x35 RM",1715,0,485200,0]
["482PR","PRAFlaDur 90-J 5x4 RE",196,0,128300,0]
["482PR","PRAFlaDur 90-J 5x50 RM",2450,0,680000,0]
["482PR","PRAFlaDur 90-J 5x6 RE",294,0,160100,0]
["482PR","PRAFlaDur 90-J 5x70 RM",3430,0,883200,0]
["482PR","PRAFlaDur 90-J 5x95 RM",4655,0,1160900,0]
["482PR","PRAFlaDur 90-J 7x1,5 RE",103,0,107500,0]
["482PR","PRAFlaDur 90-J 7x2,5 RE",172,0,133100,0]
["482PR","PRAFlaDur 90-J 7x4 RE",274,0,166800,0]
["482PR","PRAFlaDur 90-O 2x1,5 RE",29,0,53800,0]
["482PR","PRAFlaDur 90-O 2x10 RE",294,0,118700,0]
["482PR","PRAFlaDur 90-O 2x2,5 RE",49,0,62000,0]
["482PR","PRAFlaDur 90-O 2x4 RE",78,0,74100,0]
["482PR","PRAFlaDur 90-O 2x6RE",118,0,89600,0]
["482PR","PRAFlaDur X 1x150 RM CR P(750)90-R",1470,0,367340,0]
["482PR","PRAFlaDur X 1x185 RM CR P(750)90-R",1813,0,438590,0,8592285101166]
["482PR","PRAFlaDur X 1x240 RM CR P(750)90-R",2352,0,548140,0,8592285098091]
["482PR","PRAFlaDur X 1x240 RM MD P(750)90-R",2352,0,548140,0,8592285100930]
["482PR","PRAFlaDur X 1x240 RM ZZ P(750)90-R",2352,0,548140,0,8592285098107]
["482PR","PRAFlaDur X 1x300 RM CR P(750)90-R",2940,0,676230,0]
["482PR","PRAFlaDur X-J 3x150+70 RM/RM P(750)90-R",5096,0,1354120,0]
["482PR","PRAFlaDur X-J 3x150RM P(750)90-R",4410,0,1156100,0]
["482PR","PRAFlaDur X-J 3x185+95 RM/RM P(750)90-R",6370,0,1656120,0,8592285098459]
["482PR","PRAFlaDur X-J 3x240+120 RM/RM P(750)90-R",8232,0,2105930,0,8592285098367]
["482PR","PRAFlaDur X-J 4x150RM P(750)90-R",5880,0,1492750,0]
["482PR","PRAFlaDur X-J 4x185 RM P(750)90-R",7252,0,1830350,0]
["482PR","PRAFlaDur X-J 4x240 RM P(750)90-R",9408,0,2350410,0]
["482PR","PRAFlaDur X-J 5x150RM P(750)90-R",7350,0,1844020,0]
["482PR","PRAFlaDur X-J 5x185 RM P(750)90-R",9065,0,2240430,0]
["482PR","PRAFlaDur X-J 5x240 RM P(750)90-R",11760,0,2883200,0]
["482PR","PRAFlaDur-J 12x1,5 RE PH120-R",176,0,98400,0,8592285098411]
["482PR","PRAFlaDur-J 12x2,5 RE PH120-R",294,0,125400,0]
["482PR","PRAFlaDur-J 12x4 RE PH120-R",470,0,187600,0]
["482PR","PRAFlaDur-J 19x1,5 RE PH120-R",279,0,138900,0]
["482PR","PRAFlaDur-J 19x2,5 RE PH120-R",466,0,182600,0]
["482PR","PRAFlaDur-J 24x1,5 RE PH120-R",353,0,175500,0]
["482PR","PRAFlaDur-J 24x2,5 RE PH120-R",588,0,224700,0]
["482PR","PRAFlaDur-J 37x1,5 RE PH120-R",544,0,247300,0]
["482PR","PRAFlaDur-J 37x2,5 RE PH120-R",907,0,323500,0]
["482PR","PRAFlaDur-J 3x1,5 RE PH120-R",44,0,35000,0,8592285097049]
["482PR","PRAFlaDur-J 3x10 RE PH120-R",294,0,105800,0,8592285098480]
["482PR","PRAFlaDur-J 3x120 RM PH120-R",3528,0,789200,0]
["482PR","PRAFlaDur-J 3x120+50 RM/RM PH120-R",4018,0,894400,0]
["482PR","PRAFlaDur-J 3x120+70 RM/RM PH120-R",4214,0,926000,0]
["482PR","PRAFlaDur-J 3x16 RE PH120-R",470,0,140100,0]
["482PR","PRAFlaDur-J 3x2,5 RE PH120-R",74,0,42000,0,8592285097056]
["482PR","PRAFlaDur-J 3x25 RM PH120-R",735,0,222800,0]
["482PR","PRAFlaDur-J 3x25+16 RM/RE PH120-R",892,0,257500,0]
["482PR","PRAFlaDur-J 3x35 RM PH120-R",1029,0,276800,0]
["482PR","PRAFlaDur-J 3x35+16 RM/RE PH120-R",1186,0,312700,0]
["482PR","PRAFlaDur-J 3x4 RE PH120-R",118,0,63300,0,8592285098176]
["482PR","PRAFlaDur-J 3x50 RM PH120-R",1470,0,381800,0]
["482PR","PRAFlaDur-J 3x50+25 RM/RM PH120-R",1715,0,442500,0]
["482PR","PRAFlaDur-J 3x50+35 RM/RM PH120-R",1813,0,456300,0]
["482PR","PRAFlaDur-J 3x6 RE PH120-R",176,0,80000,0,8592285101678]
["482PR","PRAFlaDur-J 3x70 RM PH120-R",2058,0,496700,0]
["482PR","PRAFlaDur-J 3x70+35 RM/RM PH120-R",2401,0,568900,0]
["482PR","PRAFlaDur-J 3x70+50 RM/RM PH120-R",2548,0,597300,0]
["482PR","PRAFlaDur-J 3x95 RM PH120-R",2793,0,647600,0]
["482PR","PRAFlaDur-J 3x95+50 RM/RM PH120-R",3283,0,752800,0]
["482PR","PRAFlaDur-J 48x1,5 RE PH120-R",706,0,313500,0]
["482PR","PRAFlaDur-J 4x1,5 RE PH120-R",59,0,40600,0,8592285098251]
["482PR","PRAFlaDur-J 4x10 RE PH120-R",392,0,128200,0,8592285101609]
["482PR","PRAFlaDur-J 4x120 RM PH120-R",4704,0,1011500,0]
["482PR","PRAFlaDur-J 4x16 RE PH120-R",627,0,176900,0]
["482PR","PRAFlaDur-J 4x2,5 RE PH120-R",98,0,49800,0,8592285099517]
["482PR","PRAFlaDur-J 4x25 RM PH120-R",980,0,278300,0,8592285097193]
["482PR","PRAFlaDur-J 4x35 RM PH120-R",1372,0,312500,0]
["482PR","PRAFlaDur-J 4x4 RE PH120-R",157,0,75500,0]
["482PR","PRAFlaDur-J 4x6 RE PH120-R",235,0,95600,0]
["482PR","PRAFlaDur-J 4x70 RM PH120-R",2744,0,629400,0]
["482PR","PRAFlaDur-J 4x95 RM PH120-R",3724,0,827700,0]
["482PR","PRAFlaDur-J 5x1,5 RE PH120-R",74,0,47300,0,8592285097063]
["482PR","PRAFlaDur-J 5x10 RE PH120-R",490,0,156000,0,8592285101661]
["482PR","PRAFlaDur-J 5x120 RM PH120-R",5880,0,1231500,0,8592285098343]
["482PR","PRAFlaDur-J 5x16 RE PH120-R",784,0,212500,0,8592285098473]
["482PR","PRAFlaDur-J 5x2,5 RE PH120-R",123,0,59400,0,8592285097070]
["482PR","PRAFlaDur-J 5x25 RM PH120-R",1225,0,340200,0]
["482PR","PRAFlaDur-J 5x35 RM PH120-R",1715,0,429200,0]
["482PR","PRAFlaDur-J 5x4 RE PH120-R",196,0,89400,0,8592285097087]
["482PR","PRAFlaDur-J 5x6 RE PH120-R",294,0,114200,0,8592285097094]
["482PR","PRAFlaDur-J 5x70 RM PH120-R",3430,0,781300,0,8592285098350]
["482PR","PRAFlaDur-J 5x95 RM PH120-R",4655,0,1026900,0]
["482PR","PRAFlaDur-J 7x1,5 RE PH120-R",103,0,66100,0,8592285098572]
["482PR","PRAFlaDur-J 7x2,5 RE PH120-R",172,0,81600,0]
["482PR","PRAFlaDur-J 7x4 RE PH120-R",274,0,116700,0]
["482PR","PRAFlaDur-O 2x1,5 RE PH120-R",29,0,29800,0,8592285097162]
["482PR","PRAFlaDur-O 2x2,5 RE PH120-R",49,0,35000,0,8592285097179]
["482PR","PRAFlaDur-O 2x35 RM PH120-R",686,0,211600,0]
["482PR","PRAFlaDur-O 2x4 RE PH120-R",78,0,51700,0]
["482PR","PRAFlaDur-O 2x6 RE PH120-R",176,0,65100,0]
["482PS","PRAFlaGuard F 1x2x0.5 PH120-R",5,0,15100,0,8592285099531]
["482PS","PRAFlaGuard F 1x2x0.8 PH120-R",11,0,20500,0,8592285097117]
["482PS","PRAFlaGuard F 10x2x0,5 PH120-R",41,0,73400,0]
["482PS","PRAFlaGuard F 10x2x0.8 PH120-R",100,0,91700,0,8592285098404]
["482PS","PRAFlaGuard F 100x2x0,5 PH120-R",393,0,600800,0]
["482PS","PRAFlaGuard F 100x2x0,8 PH120-R",993,0,741400,0]
["482PS","PRAFlaGuard F 15x2x0,5 PH120-R",60,0,99400,0]
["482PS","PRAFlaGuard F 15x2x0,8 PH120-R",150,0,135100,0]
["482PS","PRAFlaGuard F 2x2x0.5 PH120-R",10,0,23200,0,8592285099548]
["482PS","PRAFlaGuard F 2x2x0.8 PH120-R",21,0,31600,0,8592285097124]
["482PS","PRAFlaGuard F 20x2x0,5 PH120-R",79,0,128300,0]
["482PS","PRAFlaGuard F 20x2x0,8 PH120-R",199,0,170300,0]
["482PS","PRAFlaGuard F 25x2x0,5 PH120-R",98,0,153200,0]
["482PS","PRAFlaGuard F 25x2x0,8 PH120-R",249,0,203900,0]
["482PS","PRAFlaGuard F 3x2x0.5 PH120-R",14,0,27700,0,8592285099555]
["482PS","PRAFlaGuard F 3x2x0.8 PH120-R",31,0,37800,0,8592285097131]
["482PS","PRAFlaGuard F 30x2x0,5 PH120-R",118,0,181500,0]
["482PS","PRAFlaGuard F 30x2x0,8 PH120-R",299,0,239200,0]
["482PS","PRAFlaGuard F 4x2x0.5 PH120-R",18,0,32800,0,8592285099562]
["482PS","PRAFlaGuard F 4x2x0.8 PH120-R",41,0,45000,0,8592285097148]
["482PS","PRAFlaGuard F 5x2x0.5 PH120-R",22,0,37800,0,8592285099579]
["482PS","PRAFlaGuard F 5x2x0.8 PH120-R",51,0,52400,0,8592285097155]
["482PS","PRAFlaGuard F 50x2x0,5 PH120-R",195,0,303400,0]
["482PS","PRAFlaGuard F 50x2x0,8 PH120-R",497,0,393100,0]
["482","1-CSKH-V180-O 2x1,5 RAL 8003",29,0,19670,0,8592285005594]
["482","1-CSKH-V180-J 3x1,5 RAL 8003",44,0,23810,0,8592285005228]
["482","1-CSKH-V180-J 4x1,5 RAL 8003",59,0,30060,0,8592285005310]
["482","1-CSKH-V180-J 5x1,5 RAL 8003",74,0,33950,0,8592285005396]
["482","1-CSKH-V180-J 7x1,5 RAL 8003",103,0,51300,0,8592285005471]
["482","1-CSKH-V180-J 12x1,5 RAL 8003",176,0,80830,0,8592285005112]
["482","1-CSKH-V180-J 19x1,5 RAL 8003",279,0,118830,0,8592285005143]
["482","1-CSKH-V180-J 24x1,5 RAL 8003",353,0,146000,0,8592285005167]
["482","1-CSKH-V180-J 37x1,5 RAL 8003",544,0,212710,0,8592285005181]
["482","1-CSKH-V180-J 48x1,5 RAL 8003",706,0,273290,0,8592285005297]
["482","1-CSKH-V180-O 2x2,5 RAL 8003",49,0,24120,0,8592285005631]
["482","1-CSKH-V180-J 3x2,5 RAL 8003",74,0,29710,0,8592285005266]
["482","1-CSKH-V180-J 4x2,5 RAL 8003",98,0,38480,0,8592285005341]
["482","1-CSKH-V180-J 5x2,5 RAL 8003",123,0,43470,0,8592285005440]
["482","1-CSKH-V180-J 7x2,5 RAL 8003",172,0,66090,0,8592285005488]
["482","1-CSKH-V180-J 12x2,5 RAL 8003",294,0,105310,0,8592285005129]
["482","1-CSKH-V180-J 19x2,5 RAL 8003",466,0,155900,0,8592285005150]
["482","1-CSKH-V180-J 24x2,5 RAL 8003",588,0,196910,0,8592285005174]
["482","1-CSKH-V180-J 37x2,5 RAL 8003",907,0,284080,0,8592285005198]
["482","1-CSKH-V180-O 2x4 RAL 8003",78,0,43710,0,8592285005648]
["482","1-CSKH-V180-J 3x4 RAL 8003",118,0,53500,0,8592285005273]
["482","1-CSKH-V180-J 4x4 RAL 8003",157,0,64170,0,8592285005358]
["482","1-CSKH-V180-J 5x4 RAL 8003",196,0,75560,0,8592285005457]
["482","1-CSKH-V180-J 7x4 RAL 8003",274,0,101030,0,8592285005495]
["482","1-CSKH-V180-J 12x4 RAL 8003",470,0,165470,0,8592285005136]
["482","1-CSKH-V180-O 2x6 RAL 8003",118,0,54660,0,8592285005655]
["482","1-CSKH-V180-J 3x6 RAL 8003",176,0,68700,0,8592285005280]
["482","1-CSKH-V180-J 4x6 RAL 8003",235,0,80730,0,8592285005365]
["482","1-CSKH-V180-J 5x6 RAL 8003",294,0,96260,0,8592285005464]
["482","1-CSKH-V180-J 3x10 RAL 8003",294,0,91010,0,8592285005235]
["482","1-CSKH-V180-J 4x10 RAL 8003",392,0,105570,0,8592285005327]
["482","1-CSKH-V180-J 5x10 RAL 8003",490,0,127310,0]
["482","1-CSKH-V180-J 3x16 RAL 8003",470,0,122040,0,8592285005242]
["482","1-CSKH-V180-J 4x16 RAL 8003",627,0,143870,0,8592285005334]
["482","1-CSKH-V180-J 5x16 RAL 8003",784,0,173880,0,8592285005419]
["482","1-CXKH-V180-J 3x25 RM RAL8003",735,0,193370,0,8592285010192]
["482","1-CXKH-V180-J 4x25 RM RAL8003",980,0,247180,0,8592285010444]
["482","1-CXKH-V180-J 5x25 RM RAL8003",1225,0,306630,0,8592285010550]
["482","1-CXKH-V180-O 2x35 RM RAL8003",686,0,181400,0,8592285010765]
["482","1-CXKH-V180-J 3x35 RM RAL8003",1029,0,245650,0,8592285010215]
["482","1-CXKH-V180-J 4x35 RM RAL8003",1372,0,316610,0,8592285010451]
["482","1-CXKH-V180-J 5x35 RM RAL8003",1715,0,391300,0,8592285010567]
["482","1-CXKH-V180-J 3x50 RM RAL8003",1470,0,316740,0,8592285010253]
["482","1-CXKH-V180-J 4x50 SM RAL8003",1960,0,412240,0,8592285010475]
["482","1-CXKH-V180-J 5x50 RM RAL8003",2450,0,513290,0,8592285010581]
["482","1-CXKH-V180-J 3x70 RM RAL8003",2058,0,418650,0,8592285010291]
["482","1-CXKH-V180-J 4x70 SM RAL8003",2744,0,550650,0,8592285010499]
["482","1-CXKH-V180-J 5x70 RM RAL8003",3430,0,682640,0,8592285010604]
["482","1-CXKH-V180-J 3x95 SM RAL8003",2793,0,537990,0,8592285010321]
["482","1-CXKH-V180-J 4x95 SM RAL8003",3724,0,714890,0,8592285010505]
["482","1-CXKH-V180-J 5x95 RM RAL8003",4655,0,887400,0,8592285010611]
["482","1-CXKH-V180-J 3x120 SM RAL8003",3528,0,665380,0,8592285010109]
["482","1-CXKH-V180-J 4x120 SM RAL8003",4704,0,883520,0,8592285010383]
["482","1-CXKH-V180-J 3x150 SM RAL8003",4410,0,816210,0,8592285010130]
["482","1-CXKH-V180-J 4x150 SM RAL8003",5880,0,1083390,0,8592285010390]
["482","1-CXKH-V180-J 4x185 SM RAL8003",7252,0,1288940,0,8592285010413]
["482","1-CXKH-V180-J 4x240 SM RAL8003",9408,0,1620170,0,8592285010437]
["482","1-CXKH-V180-J 3x25+16 RM/RE RAL8003",892,0,228750,0,8592285010208]
["482","1-CXKH-V180-J 3x35+16 SM/RE RAL8003",1186,0,272690,0,8592285010222]
["482","1-CXKH-V180-J 3x35+25 RM/RM RAL8003",1274,0,297700,0,8592285010239]
["482","1-CXKH-V180-J 3x50+25 SM/RM RAL8003",1715,0,369090,0,8592285010260]
["482","1-CXKH-V180-J 3x50+35 SM/RM RAL8003",1813,0,391290,0,8592285010277]
["482","1-CXKH-V180-J 3x70+35 SM/RM RAL8003",2401,0,489400,0,8592285010307]
["482","1-CXKH-V180-J 3x70+50 SM/RM RAL8003",2548,0,515750,0,8592285010314]
["482","1-CXKH-V180-J 3x95+50 SM/RM RAL8003",3283,0,641680,0,8592285010338]
["482","1-CXKH-V180-J 3x120+50 SM/RM RAL8003",4018,0,769060,0,8592285010116]
["482","1-CXKH-V180-J 3x120+70 SM/RM RAL8003",4214,0,799570,0,8592285010123]
["482","1-CXKH-V180-J 3x150+70 SM/RM RAL8003",5096,0,951850,0,8592285010147]
["482","1-CXKH-V180-J 3x185+95 SM/RM RAL8003",6370,0,1146880,0,8592285010161]
["482","1-CXKH-V180-J 3x240+120 SM/RM RAL8003",8232,0,1435640,0,8592285010185]
["482","1-CXKH-V180 CR 1x25 RM RAL8003",245,0,64050,0,8592285009875]
["482","1-CXKH-V180 CR 1x35 RM RAL8003",343,0,80090,0,8592285009899]
["482","1-CXKH-V180 CR 1x50 RM RAL8003",490,0,107700,0,8592285009745]
["482","1-CXKH-V180 CR 1x70 RM RAL8003",686,0,140770,0,8592285009752]
["482","1-CXKH-V180 CR 1x95 RM RAL8003",931,0,180550,0,8592285009769]
["482","1-CXKH-V180 CR 1x120 RM RAL8003",1176,0,223980,0,8592285009738]
["482","1-CXKH-V180 CR 1x150 RM RAL8003",1470,0,271220,0,8592285009837]
["482","1-CXKH-V180 CR 1x185 RM RAL8003",1813,0,329170,0,8592285009851]
["482","1-CXKH-V180 CR 1x240 RM RAL8003",2352,0,419840,0,8592285009868]
["482","1-CXKH-V180 CR 1x300 RM RAL8003",2940,0,530310,0,8592285009882]
["482SV","Info o kabelech CSFH-V180 poskytne obchodní oddělení",null,null,null,0]
["511","AYKY-J 4x10 RE",0,120,37920,0,8592285022492]
["511","AYKY-J 4x16 RE",0,192,46210,0,8592285022508]
["511","AYKY-O 4x10 RE",0,120,38680,0,8592285022515]
["511","AYKY-O 4x16 RE",0,192,47130,0,8592285022522]
["512","1-AYKY-J 4x25 RE",0,300,72290,0,8592285004580]
["512","1-AYKY-J 4x35 RE",0,420,91960,0,8592285004597]
["512","1-AYKY-J 4x50 RE",0,600,114860,0,8592285004603]
["512","1-AYKY-J 4x70 RE",0,840,157270,0,8592285004610]
["512","1-AYKY-O 4x25 RE",0,300,73740,0,8592285004689]
["512","1-AYKY-O 4x35 RE",0,420,93800,0,8592285004696]
["512","1-AYKY-O 4x50 RE",0,600,117160,0,8592285004702]
["512","1-AYKY-O 4x70 RE",0,840,160420,0,8592285004719]
["520","H07V-A-R 50 CR",null,150,17260,0,8592285051942]
["520","H07V-A-R 70 CR",null,210,22890,0,8592285051997]
["520","H07V-A-R 95 CR",null,285,30820,0,8592285052048]
["520","H07V-A-R 120 CR",null,360,38010,0,8592285051621]
["520","H07V-A-R 150 CR",null,450,47580,0,8592285051676]
["520","H07V-A-R 185 CR",null,555,57490,0,8592285051720]
["520","H07V-A-R 240 CR",null,720,73980,0,8592285051775]
["520","1-AYY 1x25 CR",null,75,13590,0,8592285005020]
["520","1-AYY 1x35 ZZ",null,105,16960,0,8592285005051]
["520","1-AYY 1x50 CR",null,150,22030,0,8592285005075]
["520","1-AYY 1x70 ZZ",0,210,30530,0,8592285005099]
["520","1-AYY 1x95 ZZ",null,285,37260,0,8592285005105]
["520","1-AYY 1 x 120 CR",null,360,44060,0,8592285004887]
["520","1-AYY 1x150 CR",null,450,54870,0,8592285004986]
["520","1-AYY 1x185 CR",null,555,68980,0,8592285005006]
["520","1-AYY 1 x 240 CR",null,720,83800,0,8592285004924]
["520","1-AYY 1x300 CR",null,900,98660,0,8592285005037]
["520","1-AYY 1x400 CR",null,1200,124330,0,8592285005068]
["520","1-AYY 1 x 500 CR",0,1500,157230,0,8592285004962]
["520","1-AYY 1 x 630 CR",null,1890,218080,0]
["532","1-AYKY-J 3x95+70 SM/RM",0,1065,194100,0,8592285004559]
["532","1-AYKY-O 3x95+70 SM/RM",0,1065,197980,0,8592285004665]
["533","1-AYKY-J 3x120+70 SM/RM",0,1290,205220,0,8592285004498]
["533","1-AYKY-J 3x150+70 SM/RM",0,1560,259420,0,8592285004504]
["533","1-AYKY-O 3x120+70 SM/RM",0,1290,209320,0,8592285004627]
["533","1-AYKY-O 3x150+70 SM/RM",0,1560,264610,0,8592285004634]
["534","1-AYKY-J 3x185+95 SM/RM",0,1950,325560,0,8592285004511]
["534","1-AYKY-J 3x240+120 SM/RM",0,2520,366770,0,8592285004535]
["534","1-AYKY-O 3x185+95 SM/RM",0,1950,332070,0,8592285004641]
["534","1-AYKY-O 3x240+120 SM/RM",0,2520,374110,0,8592285004658]
["541","1-AYKYz-J 4x10",0,120,33890,0,8592285004801]
["541","1-AYKYz-J 4x16",0,192,44480,0,8592285004818]
["541","1-AYKYz-J 4x25",0,300,70870,0,8592285004825]
["541","1-AYKYz-J 4x35",0,420,91080,0,8592285004832]
["543","1-AES 2x16",null,96,14620,0,8592285003088]
["543","1-AES 2x25",null,150,20130,0,8592285003095]
["543","1-AES 4x16",0,192,28390,0,8592285003132]
["543","1-AES 4x25",null,300,40250,0,8592285003149]
["543","1-AES 4x35",null,420,55280,0,8592285003163]
["543","1-AES 4x50",0,600,82400,0,8592285003187]
["543","1-AES 4x50+2x16",null,696,102880,0,8592285003200]
["543","1-AES 4x50+25",null,675,98700,0,8592285003194]
["543","1-AES 4x50+2x25",null,750,109560,0]
["543","1-AES 4x70",0,840,115610,0,8592285003217]
["543","1-AES 4x70+2x16",0,936,137050,0,8592285003231]
["543","1-AES 4x70+25",0,915,128950,0,8592285003224]
["543","1-AES 4x70+2x25",null,990,143570,0]
["543","1-AES 4x95",0,1140,156080,0,8592285003248]
["543","1-AES 4x95+2x16",0,1236,179120,0,8592285003262]
["543","1-AES 4x95+25",0,1215,169580,0,8592285003255]
["543","1-AES 4x95+2x25",null,1290,185970,0]
["543","1-AES 4x120",0,1440,199450,0,8592285003101]
["543","1-AES 4x120+2x16",0,1536,224160,0,8592285003125]
["543","1-AES 4x120+25",0,1515,215430,0,8592285003118]
["543","1-AES 4x120+2x25",0,1590,236210,0]
["544","25-ADX-K 35",0,105,28440,0,8592285017122]
["544","25-ADX-K 50",0,150,36870,0,8592285017139]
["544","25-ADX-K 70",0,210,47830,0,8592285017146]
["544","25-ADX-K 95",1,285,64910,0,8592285017153]
["544","25-ADX-K 120",0,360,77030,0,8592285017085]
["544","35-ADX-K 50",0,150,42340,0,8592285017337]
["544","35-ADX-K 70",null,210,54240,0,8592285017344]
["544","35-ADX-K 120",null,360,85920,0,8592285017320]
["601","JB-Y(St)Y 1x2x0,8 RT",10,0,4670,0,8592285056817]
["601","JB-Y(St)Y 2x2x0,8 RT",20,0,6270,0,8592285056831]
["601","JB-Y(St)Y 3x2x0,8 RT",30,0,8890,0,0]
["601","JB-Y(St)Y 4x2x0,8 RT",40,0,10980,0,8592285056862]
["601","JB-Y(St)Y 5x2x0,8 RT",50,0,14110,0,8592285056879]
["601","J-Y(St)Y 1x2x0,8",10,0,4450,0,8592285057807]
["601","J-Y(St)Y 2x2x0,8 Lg",20,0,5960,0,8592285057876]
["601","J-Y(St)Y 3x2x0,8 Lg",30,0,8360,0,8592285057920]
["601","J-Y(St)Y 4x2x0,8 Lg",40,0,10450,0,8592285057944]
["601","J-Y(St)Y 5x2x0,8 Lg",50,0,13380,0,8592285057999]
[602,"Info o kabelech J(B)-Y(St)Y nad 5x2x... poskytne obchodní oddělení",null,null,null,0]
["605","BYFY-M 1x2x0,5",5,0,2800,0,8592285022744]
["605","BYFY-M 5x2x0,5",27,0,11500,0,8592285022768]
["605","SYKFY 2x2x0,5 con",10,0,3300,0,8592285074095]
["605","SYKFY 3x2x0,5 con",14,0,4140,0,8592285074149]
["605","SYKFY 4x2x0,5 con",18,0,5330,0,8592285074163]
["605","SYKFY 5x2x0,5 con",22,0,6480,0,8592285074200]
["605","SYKY 1x2x0,5 con",4,0,2140,0,8592285074385]
["605","SYKY 2x2x0,5 con",8,0,3240,0,8592285074446]
["605","SYKY 3x2x0,5 con",12,0,4080,0,8592285074484]
["605","SYKY 4x2x0,5 con",15,0,5480,0,8592285074507]
["605","SYKY 5x2x0,5 con",19,0,6670,0,8592285074521]
["606","BYFY-M 10x2x0,5",53,0,18810,0,8592285022720]
["606","SYKY 10x2x0,5 con",40,0,12900,0,8592285074347]
["606","SYKFY 10x2x0,5 con",41,0,12560,0,8592285073937]
["606","SYKFY 15x2x0,5 con",60,0,15970,0,8592285073975]
["606","SYKFY 20x2x0,5 con",79,0,19960,0,8592285074002]
["606","SYKFY 25x2x0,5 con",98,0,24280,0,8592285074057]
["606","SYKFY 30x2x0,5 con",118,0,28330,0,8592285074118]
["606","SYKFY 50x2x0,5 con",195,0,43860,0,8592285074187]
["606","SYKFY 100x2x0,5 con",393,0,87170,0,8592285073913]
[681,"SHKFH-R 1x2x0,5",5,0,7490,0]
[681,"SHKFH-R 2x2x0,5",10,0,11060,0]
[681,"SHKFH-R 3x2x0,5",14,0,13170,0]
[681,"SHKFH-R 4x2x0,5",18,0,15430,0]
[681,"SHKFH-R 5x2x0,5",22,0,17680,0]
[681,"SHKFH-R 10x2x0,5",41,0,31030,0]
[681,"SHKFH-R 1x2x0,8",11,0,9510,0]
[681,"SHKFH-R 2x2x0,8",21,0,14890,0]
[681,"SHKFH-R 3x2x0,8",31,0,18430,0]
[681,"SHKFH-R 4x2x0,8",41,0,22030,0]
[681,"SHKFH-R 5x2x0,8",51,0,25860,0]
[681,"SHKFH-R 10x2x0,8",100,0,46410,0]
[682,"SSKFH-V180 1x2x0,5",5,0,11400,0]
[682,"SSKFH-V180 2x2x0,5",10,0,17330,0]
[682,"SSKFH-V180 3x2x0,5",14,0,21290,0,0]
[682,"SSKFH-V180 4x2x0,5",18,0,25540,0]
[682,"SSKFH-V180 5x2x0,5",22,0,29860,0]
[682,"SSKFH-V180 10x2x0,5",41,0,55830,0]
[682,"SSKFH-V180 1x2x0,8",11,0,14600,0,8592285094697]
[682,"SSKFH-V180 2x2x0,8",21,0,22640,0]
[682,"SSKFH-V180 3x2x0,8",31,0,27870,0]
[682,"SSKFH-V180 4x2x0,8",41,0,33690,0]
[682,"SSKFH-V180 5x2x0,8",51,0,39510,0]
[682,"SSKFH-V180 10x2x0,8",100,0,72470,0]
[611,"Info o kabelech TCE... poskytne obchodní oddělení",null,null,null,0]
[700,null,null,null,null,0]
[700,"Nenašli jste co jste hledali ? Kontaktujte, prosím, obchodní oddělení. ",null,null,null,0]
[700,null,null,null,null,0]
[700,"např.:",null,null,null,0]
[700,"NYM",null,null,null,0]
[700,"NYY",null,null,null,0]
[700,"CXFH-R",null,null,null,0]
[700,"CSFH-V180",null,null,null,0]
[700,"1-CXKHDH-R",null,null,null,0]
[700,"1-CXKHDH-V180",null,null,null,0]
[700,"CYKYDY",null,null,null,0]
[700,"PRAFlaRes ",null,null,null,0]
[700,"PRAFlaSafe T",null,null,null,0]
[700,"PRAFlaSafe AX ",null,null,null,0]
[700,"J-H(St)H",null,null,null,0]
[700,"JE-H(St)H",null,null,null,0]
[700,"3-AHKCH-R",null,null,null,0]
[700,"6-AHKCH-R",null,null,null,0]
[700,null,null,null,null,0]
[700,null,null,null,null,0]
[700,"atd.",null,null,null,0]
[700,null,null,null,null,0]
[700,"Děkujeme za Váš zájem. OÚ Prakab",null,null,null,0]